# 13. Water Intrusion

263. Select the classification  [List Radio]

○ Minor - We can clean up the water and remove ALL wet materials off the site

○ Serious - We are not sure how far the water traveled and we are going to have to call for remediation. ---> Immediately call Maree Urias Buono (520) 709-6964 - Immediately call Maree Urias Buono (520) 709-6964

264. What to do in the event of water intrusion  [Reference document]

Attach/link file(s): ________________________________________________________________________________

__________________________________________________________________________________________

265. Status of structures/materials subjected to intrusion  [List Radio]

○ Less than 24 hrs, up to 48 hrs

○ More than 48 hrs with no visible growth

○ Visible growth

266. Surface area affected  [List Radio]

○ Level 1: Less than 10 square feet

○ Level 2: 10-30 square feet

○ Level 4: More than 100 square feet

○ Level 5A & 5B Remediation HVAC

267. Building occupancy status  [List Radio]

○ Occupied building

○ Non-occupied building

268. What caused the intrusion?  [List Radio]

○ Weather related

○ Utility related

269. Remediation Contractor  [Text Short]

Response: ________________________________________________________________________________

__________________________________________________________________________________________

270. Industrial Hygienist  [Text Short]

Response: ________________________________________________________________________________

__________________________________________________________________________________________

271. Lab  [Text Short]

Response: ________________________________________________________________________________

__________________________________________________________________________________________

272. Investigate and evaluate moisture and mold problems  [List Checkbox]

| ☐ Assess size of moldy area (square feet) | ☐ Consider the possibility of hidden mold |
| --- | --- |
| ☐ Clean up small mold problems and fix moisture problems before they become large problems | ☐ Select a remediation manager for medium or large size mold problem |
| ☐ Investigate areas associated with occupant complaints | ☐ Identify source(s) or cause(s) of water or moisture problem(s) |
| ☐ Note type of water-damaged materials (wallboard, carpet, etc.) | ☐ Check inside air ducts and air handling unit(s) |
| ☐ Throughout process, consult a qualified professional if necessary or desired | ☐ Immediately report the event to Company’s HS&E Department to determine if insurance coverage exists through Company, Owner, or subcontractor’s insurance programs. |

273. Communicate with building occupants at all stages of process, as appropriate  [List Checkbox]

☐ Designate contact person for questions and comments about medium or large-scale remediation as needed

☐ Arrange for comparable temporary facilities for occupants during remediation

274. Plan remediation  [List Checkbox]

☐ Adapt/modify remediation guidelines for the situation; use professional judgment

☐ Plan to dry wet, non-moldy materials within 48 hours to prevent mold growth

☐ Select cleanup methods for moldy items

☐ Select Personal Protection Equipment - protect remediators

☐ Select containment equipment - protect building occupants

☐ Select remediation personnel who have the experience and training needed to implement the Remediation plan and use Personal Protection Equipment and containment as appropriate

275. Remediate moisture and mold problems  [List Checkbox]

☐ Fix moisture problem, implement repair plan and/or maintenance plan

☐ Dry wet, non-moldy materials within 48 hours to prevent mold growth

☐ Clean and dry moldy materials

☐ Discard moldy porous items that can't be cleaned

276. Other remedial actions taken  [Text Short]

Response: ________________________________________________________________________________

__________________________________________________________________________________________