## Template
OBJECT ID | CharacteristicType | ObjectType | Type | Info | Section/Section supporting text/Question/Question supporting text/Option/Option supporting text/Hyperlink text to display/Form Flow Title | If questions are in columns you will see them shown here in a straight line going from a Z pattern from the form
|  |  |  | Language Code | EN
35073 |  | Section |  | Section | Operation Info
363272 | 3 | Question | Date time | Question | Date
363274 | 1 | Question | Attachment | Question | Attach Picture(s) of STCKY Work Area
363273 | 2 | Question | Choice | Question | Contractor
4466012 |  | Option |  | Option | Sundt
4466013 |  | Option |  | Option | Trade Partner
363276 | 70 | Question | Integrated list | Question | Trade Partner responsible for operation
363275 | 10 | Question | Text Short | Question | Write in: If not listed, indicate the trade partner responsible for the operation.
363277 | 7 | Question | List Drop-down | Question | Division of Work
4466017 |  | Option |  | Option | 0 Not related to a scope of work - N/A
4466018 |  | Option |  | Option | 00 00 00 - General Conditions & General Requirements
4466019 |  | Option |  | Option | 02 00 00 - Existing Conditions
4466020 |  | Option |  | Option | 03 00 00 - Concrete
4466021 |  | Option |  | Option | 04 00 00 - Masonry
4466022 |  | Option |  | Option | 05 00 00 - Metals
4466023 |  | Option |  | Option | 06 00 00 - Wood, Plastics, and Composites
4466024 |  | Option |  | Option | 07 00 00 - Thermal and Moisture Protection
4466025 |  | Option |  | Option | 08 00 00 - Openings
4466026 |  | Option |  | Option | 09 00 00 - Finishes
4466027 |  | Option |  | Option | 10 00 00 - Specialties
4466028 |  | Option |  | Option | 11 00 00 - Equipment
4466029 |  | Option |  | Option | 12 00 00 - Furnishings
4466030 |  | Option |  | Option | 13 00 00 - Special Construction
4466031 |  | Option |  | Option | 14 00 00 - Conveying Equipment
4466032 |  | Option |  | Option | 21 00 00 - Fire Suppression
4466033 |  | Option |  | Option | 22 00 00 - Plumbing
4466034 |  | Option |  | Option | 23 00 00 - Heating Ventilating and Air Conditioning (HVAC)
4466035 |  | Option |  | Option | 25 50 00 - Integrated Automation Facility Controls
4466036 |  | Option |  | Option | 26 00 00 - Electrical
4466037 |  | Option |  | Option | 27 00 00 - Communications
4466038 |  | Option |  | Option | 28 00 00 - Electronic Safety & Security
4466039 |  | Option |  | Option | 31 00 00 - Earthwork
4466040 |  | Option |  | Option | 32 00 00 - Exterior Improvements
4466041 |  | Option |  | Option | 33 00 00 - Utilities
4466042 |  | Option |  | Option | 34 00 00 - Transportation
4466043 |  | Option |  | Option | 40 00 00 - Process Interconnections
4466044 |  | Option |  | Option | 41 00 00 - Material Processing & Handling Equipment
4466045 |  | Option |  | Option | 42 00 00 - Process Heating/Cooling/Drying Equipment
4466046 |  | Option |  | Option | 43 00 00 - Process Gas & Liquid Handling/Purification/Storage Equipment
4466047 |  | Option |  | Option | 44 00 00 - Pollution & Waste Control Equipment
4466048 |  | Option |  | Option | 45 00 00 - Industry-Specific Manufacturing Equipment
4466049 |  | Option |  | Option | 46 00 00 - Water & Wastewater Equipment
4466050 |  | Option |  | Option | 48 00 00 - Electrical Power Generation
35074 |  | Section |  | Section | STCKY CONTROLS
363290 | 2 | Question | Choice | Question | Utility strike prevention measures in place?
363290 | 2 | Question |  | Question supporting text | <p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Active, refreshed dig ticket</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Service/lateral lines are located.</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Existing Utilities are located and marked</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Potholing used to verify the location and depth of the utility</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Potholed utilities marked, protected, supported, or removed</span></p>
4466136 |  | Option |  | Option | Yes
4466137 |  | Option |  | Option | No
363280 | 7 | Question | List Checkbox | Question | Utility Strike Prevention - Direct Controls
4466056 |  | Option |  | Option | Mark, protect, support, or remove verified utilities
4466057 |  | Option |  | Option | N/A
363306 | 7 | Question | List Checkbox | Question | Utility Strike Prevention - Safeguards
4466282 |  | Option |  | Option | Activate or refresh dig ticket
4466283 |  | Option |  | Option | Locate Service/lateral lines
4466284 |  | Option |  | Option | Locate and mark Existing Utilities
4466285 |  | Option |  | Option | Pothole to verify the location and depth of the utility
4466286 |  | Option |  | Option | N/A
363291 | 7 | Question | List Radio | Question | Reason for lack of Utility strike prevention controls?
363291 | 7 | Question |  | Question supporting text | <p><strong><span style="text-decoration:underline;">Energy(ies) Not Recognized</span></strong></p><p>Energy(ies) not recognized by employees involved in the task.</p><p>Example: STCKY Energy &ldquo;S#!T Built at Heights&rdquo; not recognized by the crew.</p><p><strong><span style="text-decoration:underline;"></span></strong></p><p><strong><span style="text-decoration:underline;">&nbsp;</span></strong></p><p><strong><span style="text-decoration:underline;">Hazard(s) Not Recognized</span></strong></p><p>Hazard(s) not recognized by employees involved in the task.</p><p>Example: Dropped object hazard(s) not recognized by the crew.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Identified</span></strong></p><p>Control(s) not identified for the recognized hazard(s)</p><p>Example: The crew did not identify the need for tethers, C.A.Z. (Controlled Access Zone), etc., to protect from recognized dropped object hazards.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Implemented</span></strong></p><p>Identified control(s) were not implemented.</p><p>Example: C.A.Z. identified as a control for dropped object hazard(s), but not established (implemented).</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Executed</span></strong></p><p>Implemented control(s) were not properly executed.</p><p>Example: C.A.Z. was established but not enforced (executed).</p>
4466138 |  | Option |  | Option | Utility Strike hazard(s) not recognized
4466139 |  | Option |  | Option | Utility Strike control(s) not identified
4466140 |  | Option |  | Option | Utility Strike control(s) not implemented
4466141 |  | Option |  | Option | Utility Strike control(s) not executed
363294 | 7 | Question | List Radio | Question | What prevented the hazard from being recognized? Select all that apply.
4466150 |  | Option |  | Option | Lack of Knowledge
4466150 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of Knowledge:</span></strong><span> The project team members did not have the necessary experience or expertise to identify all potential hazardous energies specific to the task.</span></p>
4466151 |  | Option |  | Option | Inadequate training
4466151 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate training:</span></strong><span> The team members had not received sufficient training on hazard recognition and/or energy sources, so they were not aware of potential risks.</span></p>
4466152 |  | Option |  | Option | Lack of awareness
4466152 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of awareness:</span></strong><span> The team was not aware of all the potential energy sources present in the new work area.</span></p>
4466153 |  | Option |  | Option | Insufficient risk assessment
4466153 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Insufficient risk assessment:</span></strong><span> The project team did not conduct a comprehensive risk assessment that included a thorough analysis of potential hazardous energies.</span></p>
4466154 |  | Option |  | Option | Rushed planning or inadequate preparation
4466154 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Rushed planning or inadequate preparation:</span></strong><span> Due to a rushed project planning phase or lack of attention to detail, the team overlooked hazardous energies during the "Plan the Work" phase.</span></p>
4466155 |  | Option |  | Option | Lack of communication
4466155 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of communication:</span></strong><span> There was poor communication between team members or departments, so information about hazardous energies was not effectively shared.</span></p>
4466156 |  | Option |  | Option | Inadequate hazard identification process
4466156 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate hazard identification process:</span></strong><span> The project team's hazard/energy recognition process was not detailed enough to identify all potential hazardous energies associated with the task.</span></p>
4466157 |  | Option |  | Option | Unclear responsibilities
4466157 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Unclear responsibilities:</span></strong><span> Unclear roles and responsibilities within the team led to hazards/energy not being recognized.</span></p>
4466158 |  | Option |  | Option | Assumptions and biases
4466158 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Assumptions and biases:</span></strong><span> Preconceived notions or assumptions about the task led the team to overlook hazardous energies.</span></p>
4466159 |  | Option |  | Option | External factors
4466159 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>External factors:</span></strong><span> Factors outside the control of the project team, such as changes in the work environment or unforeseen conditions, introduced hazardous energies that were not recognized.</span></p>
363295 | 7 | Question | List Radio | Question | What prevented a control from being identified? Select all that apply.
4466160 |  | Option |  | Option | Lack of familiarity with specific high energy hazards
4466160 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of familiarity with specific high energy hazards:</span></span></strong><span> The project team is not familiar with the specific high energy hazards present in the task, i.e. new or unique situation or work process.</span></p>
4466161 |  | Option |  | Option | Inadequate training on high energy controls
4466161 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training on high energy controls:</span></span></strong><span> Team members have not received sufficient training on identifying, implementing, and executing high energy controls.</span></p>
4466162 |  | Option |  | Option | Insufficient risk assessment
4466162 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Insufficient risk assessment:</span></span></strong><span> The team has not conducted a thorough risk assessment to identify all potential high energy hazards and determine appropriate controls.</span></p>
4466163 |  | Option |  | Option | Lack of available control options
4466163 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of available control options:</span></span></strong><span> The team struggles to find suitable control measures for mitigating the identified high energy hazards, leading to delays or inadequate solutions.</span></p>
4466164 |  | Option |  | Option | Resource constraints
4466164 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> Limited budget or access to equipment prevented the implementation of high energy controls</span></p>
4466165 |  | Option |  | Option | Time constraints
4466165 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project deadlines and tight schedules pressure the team to overlook or rush the identification of high energy controls.</span></p>
4466166 |  | Option |  | Option | Risk Tolerance
4466166 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The team has dealt with similar high energy hazards in the past without incident and assumed the risks are manageable without additional controls.</span></p>
4466167 |  | Option |  | Option | Emphasis on production
4466167 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Emphasis on production</span></span></strong><span>: A focus on productivity and meeting targets led to neglecting the thorough identification of high energy controls.</span></p>
4466168 |  | Option |  | Option | Lack of communication and collaboration
4466168 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of communication and collaboration:</span></span></strong><span> Team members did not communicate effectively, critical information about high energy hazards and controls were missed.</span></p>
4466169 |  | Option |  | Option | Failure to learn from past incidents
4466169 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to learn from past incidents:</span></span></strong><span> The team did not learn from previous incidents involving similar high energy hazards, leading to repeated oversights in control identification.</span></p>
4466170 |  | Option |  | Option | Complexity of the construction task
4466170 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Complexity of the construction task:</span></span></strong><span> Highly complex task with multiple high energy hazards, made it challenging for the team to identify and implement appropriate controls for each hazard.</span></p>
363296 | 7 | Question | List Radio | Question | What prevented the control from being implemented? Select all that apply.
4466175 |  | Option |  | Option | Cost considerations
4466175 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Cost considerations:</span></span></strong><span> High energy controls are expensive to acquire and install, and the project team prioritized cost savings over worker safety.</span></p>
4466176 |  | Option |  | Option | Lack of understanding or awareness
4466176 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of understanding or awareness:</span></span></strong><span> The team did not fully comprehend the severity of the hazard or the potential consequences of not implementing the high energy controls.</span></p>
4466177 |  | Option |  | Option | Resistance to change
4466177 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resistance to change:</span></span></strong><span> Introduction of controls or procedures was met with resistance from workers or management who prefer familiar practices.</span></p>
4466178 |  | Option |  | Option | Inadequate planning
4466178 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate planning:</span></span></strong><span> The team identified the need for high energy control but failed to develop a proper plan for their implementation.</span></p>
4466179 |  | Option |  | Option | Resource constraints
4466179 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources, such as equipment or skilled personnel, to implement the high energy controls effectively.</span></p>
4466180 |  | Option |  | Option | Time constraints
4466180 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project timelines or deadlines did not allow for implementing high energy controls properly.</span></p>
4466181 |  | Option |  | Option | Lack of leadership support
4466181 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of leadership support:</span></span></strong><span> The absence of leadership support in prioritizing control implementation made it challenging for the team to effectively implement the controls.</span></p>
4466171 |  | Option |  | Option | Perceived inconvenience
4466171 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Perceived inconvenience:</span></span></strong><span> Workers considered the high energy controls as inconvenient or cumbersome, leading to resistance in their implementation.</span></p>
4466172 |  | Option |  | Option | Risk Tolerance
4466172 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The project team believes that the hazard is manageable without additional controls or that accidents are unlikely to happen.</span></p>
4466173 |  | Option |  | Option | Inadequate training
4466173 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> Workers lack the necessary training on how to use or maintain the high energy controls effectively.</span></p>
4466174 |  | Option |  | Option | Miscommunication or misinterpretation
4466174 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misinterpretation:</span></span></strong><span> Instructions or guidelines for implementing the controls have not been communicated clearly or were misunderstood by the team.</span></p>
363297 | 7 | Question | List Radio | Question | What prevented the control from being executed? Select all that apply.
4466182 |  | Option |  | Option | Inadequate training
4466182 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> The team have not received sufficient training on how to use the high energy control properly</span></p>
4466183 |  | Option |  | Option | Lack of supervision
4466183 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of supervision</span></span></strong><span>: Lacking supervision, workers did not follow the correct procedures for using the high energy control.</span></p>
4466184 |  | Option |  | Option | Risk Tolerance
4466184 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> Workers became complacent over time and deviated from established procedures</span></p>
4466185 |  | Option |  | Option | Lack of accountability
4466185 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of accountability:</span></span></strong><span> No consequences for non-compliance with high energy control procedures</span></p>
4466186 |  | Option |  | Option | Failure to maintain equipment
4466186 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to maintain equipment:</span></span></strong><span> Lack of regular maintenance and/or inspections of the high energy control led to malfunction and/or reduced effectiveness.</span></p>
4466187 |  | Option |  | Option | Miscommunication or misunderstandings
4466187 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misunderstandings:</span></span></strong><span> Poor communication between team members resulted in misunderstandings about how to execute the high energy control. </span></p>
4466188 |  | Option |  | Option | Production pressures
4466188 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Production pressures:</span></span></strong><span> Workers prioritized production over control execution, due to tight project schedule or deadlines, leading to incomplete execution of the high energy control.</span></p>
4466189 |  | Option |  | Option | Resource constraints
4466189 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources to ensure high energy control execution.</span></p>
4466190 |  | Option |  | Option | Lack of awareness
4466190 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of awareness:</span></span></strong><span> Workers did understand the importance of high energy control or the potential consequences of not executing it effectively.</span></p>
4466191 |  | Option |  | Option | Worker fatigue
4466191 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Worker fatigue:</span></span></strong><span> Fatigued workers were not alert or attentive when executing high energy controls.</span></p>
4466192 |  | Option |  | Option | Competing priorities
4466192 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Competing priorities:</span></span></strong><span> Other tasks or issues diverted the team&rsquo;s attention away from executing the high energy control. </span></p>
4466193 |  | Option |  | Option | Willful disregard
4466193 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Willful Disregard:</span></span><span>&nbsp;</span></strong><span>Intentional neglect or avoidance of necessary actions or procedures<strong><span style="text-decoration:underline;"></span></strong></span></p>
363278 | 2 | Question | Choice | Question | Atmosphere within excavation verified as safe for work?
363278 | 2 | Question |  | Question supporting text | <p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;"></span><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Atmosphere within the excavation tested</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Testing conducted at regular intervals to ensure that the atmosphere remains safe</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Precautions taken to protect employees from exposure to hazardous atmospheres</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Emergency equipment readily available</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Employees trained to use personal protective and rescue equipment</span></p><p></p>
4466051 |  | Option |  | Option | Yes
4466052 |  | Option |  | Option | No
363279 | 7 | Question | List Checkbox | Question | Atmosphere within excavation - Direct Controls
4466053 |  | Option |  | Option | Take precautions to protect employees from exposure to hazardous atmospheres
4466054 |  | Option |  | Option | Prevent accumulation of water
4466055 |  | Option |  | Option | N/A
363307 | 7 | Question | List Checkbox | Question | Atmosphere within excavation - Safeguards
4466287 |  | Option |  | Option | Test atmosphere within the excavation
4466288 |  | Option |  | Option | Conduct testing at regular intervals to ensure atomosphere remains safe
4466289 |  | Option |  | Option | Provide Emergency equipment and make readily available
4466290 |  | Option |  | Option | Train employees to use personal protective and rescue equipment
4466291 |  | Option |  | Option | N/A
363292 | 7 | Question | List Radio | Question | Reason for lack of Safe Atmosphere controls?
363292 | 7 | Question |  | Question supporting text | <p><strong><span style="text-decoration:underline;">Energy(ies) Not Recognized</span></strong></p><p>Energy(ies) not recognized by employees involved in the task.</p><p>Example: STCKY Energy &ldquo;S#!T Built at Heights&rdquo; not recognized by the crew.</p><p><strong><span style="text-decoration:underline;"></span></strong></p><p><strong><span style="text-decoration:underline;">Hazard(s) Not Recognized</span></strong></p><p>Hazard(s) not recognized by employees involved in the task.</p><p>Example: Dropped object hazard(s) not recognized by the crew.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Identified</span></strong></p><p>Control(s) not identified for the recognized hazard(s)</p><p>Example: The crew did not identify the need for tethers, C.A.Z. (Controlled Access Zone), etc., to protect from recognized dropped object hazards.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Implemented</span></strong></p><p>Identified control(s) were not implemented.</p><p>Example: C.A.Z. identified as a control for dropped object hazard(s), but not established (implemented).</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Executed</span></strong></p><p>Implemented control(s) were not properly executed.</p><p>Example: C.A.Z. was established but not enforced (executed).</p>
4466142 |  | Option |  | Option | Environmental hazard(s) not recognized
4466143 |  | Option |  | Option | Environmental control(s) not identified
4466144 |  | Option |  | Option | Environmental control(s) not implemented
4466145 |  | Option |  | Option | Environmental control(s) not executed
363298 | 7 | Question | List Radio | Question | What prevented the hazard from being recognized? Select all that apply.
4466194 |  | Option |  | Option | Lack of Knowledge
4466194 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of Knowledge:</span></strong><span> The project team members did not have the necessary experience or expertise to identify all potential hazardous energies specific to the task.</span></p>
4466195 |  | Option |  | Option | Inadequate training
4466195 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate training:</span></strong><span> The team members had not received sufficient training on hazard recognition and/or energy sources, so they were not aware of potential risks.</span></p>
4466196 |  | Option |  | Option | Lack of awareness
4466196 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of awareness:</span></strong><span> The team was not aware of all the potential energy sources present in the new work area.</span></p>
4466197 |  | Option |  | Option | Insufficient risk assessment
4466197 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Insufficient risk assessment:</span></strong><span> The project team did not conduct a comprehensive risk assessment that included a thorough analysis of potential hazardous energies.</span></p>
4466198 |  | Option |  | Option | Rushed planning or inadequate preparation
4466198 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Rushed planning or inadequate preparation:</span></strong><span> Due to a rushed project planning phase or lack of attention to detail, the team overlooked hazardous energies during the "Plan the Work" phase.</span></p>
4466199 |  | Option |  | Option | Lack of communication
4466199 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of communication:</span></strong><span> There was poor communication between team members or departments, so information about hazardous energies was not effectively shared.</span></p>
4466200 |  | Option |  | Option | Inadequate hazard identification process
4466200 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate hazard identification process:</span></strong><span> The project team's hazard/energy recognition process was not detailed enough to identify all potential hazardous energies associated with the task.</span></p>
4466201 |  | Option |  | Option | Unclear responsibilities
4466201 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Unclear responsibilities:</span></strong><span> Unclear roles and responsibilities within the team led to hazards/energy not being recognized.</span></p>
4466202 |  | Option |  | Option | Assumptions and biases
4466202 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Assumptions and biases:</span></strong><span> Preconceived notions or assumptions about the task led the team to overlook hazardous energies.</span></p>
4466203 |  | Option |  | Option | External factors
4466203 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>External factors:</span></strong><span> Factors outside the control of the project team, such as changes in the work environment or unforeseen conditions, introduced hazardous energies that were not recognized.</span></p>
363299 | 7 | Question | List Radio | Question | What prevented a control from being identified? Select all that apply.
4466204 |  | Option |  | Option | Lack of familiarity with specific high energy hazards
4466204 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of familiarity with specific high energy hazards:</span></span></strong><span> The project team is not familiar with the specific high energy hazards present in the task, i.e. new or unique situation or work process.</span></p>
4466205 |  | Option |  | Option | Inadequate training on high energy controls
4466205 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training on high energy controls:</span></span></strong><span> Team members have not received sufficient training on identifying, implementing, and executing high energy controls.</span></p>
4466206 |  | Option |  | Option | Insufficient risk assessment
4466206 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Insufficient risk assessment:</span></span></strong><span> The team has not conducted a thorough risk assessment to identify all potential high energy hazards and determine appropriate controls.</span></p>
4466207 |  | Option |  | Option | Lack of available control options
4466207 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of available control options:</span></span></strong><span> The team struggles to find suitable control measures for mitigating the identified high energy hazards, leading to delays or inadequate solutions.</span></p>
4466208 |  | Option |  | Option | Resource constraints
4466208 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> Limited budget or access to equipment prevented the implementation of high energy controls</span></p>
4466209 |  | Option |  | Option | Time constraints
4466209 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project deadlines and tight schedules pressure the team to overlook or rush the identification of high energy controls.</span></p>
4466210 |  | Option |  | Option | Risk Tolerance
4466210 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The team has dealt with similar high energy hazards in the past without incident and assumed the risks are manageable without additional controls.</span></p>
4466211 |  | Option |  | Option | Emphasis on production
4466211 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Emphasis on production</span></span></strong><span>: A focus on productivity and meeting targets led to neglecting the thorough identification of high energy controls.</span></p>
4466212 |  | Option |  | Option | Lack of communication and collaboration
4466212 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of communication and collaboration:</span></span></strong><span> Team members did not communicate effectively, critical information about high energy hazards and controls were missed.</span></p>
4466213 |  | Option |  | Option | Failure to learn from past incidents
4466213 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to learn from past incidents:</span></span></strong><span> The team did not learn from previous incidents involving similar high energy hazards, leading to repeated oversights in control identification.</span></p>
4466214 |  | Option |  | Option | Complexity of the construction task
4466214 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Complexity of the construction task:</span></span></strong><span> Highly complex task with multiple high energy hazards, made it challenging for the team to identify and implement appropriate controls for each hazard.</span></p>
363300 | 7 | Question | List Radio | Question | What prevented the control from being implemented? Select all that apply.
4466215 |  | Option |  | Option | Cost considerations
4466215 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Cost considerations:</span></span></strong><span> High energy controls are expensive to acquire and install, and the project team prioritized cost savings over worker safety.</span></p>
4466216 |  | Option |  | Option | Lack of understanding or awareness
4466216 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of understanding or awareness:</span></span></strong><span> The team did not fully comprehend the severity of the hazard or the potential consequences of not implementing the high energy controls.</span></p>
4466217 |  | Option |  | Option | Resistance to change
4466217 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resistance to change:</span></span></strong><span> Introduction of controls or procedures was met with resistance from workers or management who prefer familiar practices.</span></p>
4466218 |  | Option |  | Option | Inadequate planning
4466218 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate planning:</span></span></strong><span> The team identified the need for high energy control but failed to develop a proper plan for their implementation.</span></p>
4466219 |  | Option |  | Option | Resource constraints
4466219 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources, such as equipment or skilled personnel, to implement the high energy controls effectively.</span></p>
4466220 |  | Option |  | Option | Time constraints
4466220 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project timelines or deadlines did not allow for implementing high energy controls properly.</span></p>
4466221 |  | Option |  | Option | Lack of leadership support
4466221 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of leadership support:</span></span></strong><span> The absence of leadership support in prioritizing control implementation made it challenging for the team to effectively implement the controls.</span></p>
4466222 |  | Option |  | Option | Perceived inconvenience
4466222 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Perceived inconvenience:</span></span></strong><span> Workers considered the high energy controls as inconvenient or cumbersome, leading to resistance in their implementation.</span></p>
4466223 |  | Option |  | Option | Risk Tolerance
4466223 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The project team believes that the hazard is manageable without additional controls or that accidents are unlikely to happen.</span></p>
4466224 |  | Option |  | Option | Inadequate training
4466224 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> Workers lack the necessary training on how to use or maintain the high energy controls effectively.</span></p>
4466225 |  | Option |  | Option | Miscommunication or misinterpretation
4466225 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misinterpretation:</span></span></strong><span> Instructions or guidelines for implementing the controls have not been communicated clearly or were misunderstood by the team.</span></p>
363301 | 7 | Question | List Radio | Question | What prevented the control from being executed? Select all that apply.
4466226 |  | Option |  | Option | Inadequate training
4466226 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> The team have not received sufficient training on how to use the high energy control properly</span></p>
4466227 |  | Option |  | Option | Lack of supervision
4466227 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of supervision</span></span></strong><span>: Lacking supervision, workers did not follow the correct procedures for using the high energy control.</span></p>
4466228 |  | Option |  | Option | Risk Tolerance
4466228 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> Workers became complacent over time and deviated from established procedures</span></p>
4466229 |  | Option |  | Option | Lack of accountability
4466229 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of accountability:</span></span></strong><span> No consequences for non-compliance with high energy control procedures</span></p>
4466230 |  | Option |  | Option | Failure to maintain equipment
4466230 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to maintain equipment:</span></span></strong><span> Lack of regular maintenance and/or inspections of the high energy control led to malfunction and/or reduced effectiveness.</span></p>
4466231 |  | Option |  | Option | Miscommunication or misunderstandings
4466231 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misunderstandings:</span></span></strong><span> Poor communication between team members resulted in misunderstandings about how to execute the high energy control. </span></p>
4466232 |  | Option |  | Option | Production pressures
4466232 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Production pressures:</span></span></strong><span> Workers prioritized production over control execution, due to tight project schedule or deadlines, leading to incomplete execution of the high energy control.</span></p>
4466233 |  | Option |  | Option | Resource constraints
4466233 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources to ensure high energy control execution.</span></p>
4466234 |  | Option |  | Option | Lack of awareness
4466234 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of awareness:</span></span></strong><span> Workers did understand the importance of high energy control or the potential consequences of not executing it effectively.</span></p>
4466235 |  | Option |  | Option | Worker fatigue
4466235 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Worker fatigue:</span></span></strong><span> Fatigued workers were not alert or attentive when executing high energy controls.</span></p>
4466236 |  | Option |  | Option | Competing priorities
4466236 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Competing priorities:</span></span></strong><span> Other tasks or issues diverted the team&rsquo;s attention away from executing the high energy control. </span></p>
4466237 |  | Option |  | Option | Willful disregard
4466237 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Willful Disregard:</span></span><span>&nbsp;</span></strong><span>Intentional neglect or avoidance of necessary actions or procedures<strong><span style="text-decoration:underline;"></span></strong></span></p>
363288 | 22 | Question | Choice | Question | Safe access to the work area?
363288 | 22 | Question |  | Question supporting text | <p><strong><span style="font-size:12.0pt;line-height:107%;">Safe means of access/egress available?</span></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Provide safe means of access/egress for workers in trench/excavations 4&rsquo; or deeper</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Provide safe access/egress available within 25' of lateral travel</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Bridges with handrails across trenches wider than 30&rdquo; </span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Relentless Housekeeping - Maintain access/egress clear of obstructions</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Install Barricade/Flagging/Fencing 6ft. from leading edge</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Provide Fall protection available for workers near leading edge</span><strong></strong></p><p><strong><span style="font-size:12.0pt;line-height:107%;">&nbsp;</span></strong></p><p><strong><span style="font-size:12.0pt;line-height:107%;">Ladders &ndash;</span></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Access/Egress free from obstructions, tripping hazards</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">No damage on rails or rungs</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">At least a Type 1A (rated for up to 300 pounds)</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Constructed of nonconductive material</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Setup at a 4/1 angle</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Secured/tied off to prevent movement</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Extend 3ft beyond landing area or have &ldquo;pass through&rdquo; gate</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Protected from fall exposure by means of a controlled access point</span><strong></strong></p><p><span style="font-size:12.0pt;line-height:107%;">Be used per the manufacturer&rsquo;s instructions</span><strong></strong></p><p><strong><span style="font-size:12.0pt;line-height:107%;">&nbsp;</span></strong></p><p><strong><span style="font-size:12.0pt;line-height:107%;">For more information see:</span></strong></p><p><a href="https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.1053"><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.1053</span></a><strong></strong></p>
4466122 |  | Option |  | Option | Yes
4466123 |  | Option |  | Option | No
4466124 |  | Option |  | Option | Not Applicable
363289 | 7 | Question | List Checkbox | Question | Safe access - Direct Controls
4466125 |  | Option |  | Option | Provide Fall protection available for workers near leading edge
4466126 |  | Option |  | Option | Provide safe means of access/egress for workers in trench/excavations 4’ or deeper
4466127 |  | Option |  | Option | Provide safe access/egress available within 25' of lateral travel
4466128 |  | Option |  | Option | Replace ladder
4466129 |  | Option |  | Option | Utilize ladder meeting Type 1A (rated for up to 300 pounds)
4466130 |  | Option |  | Option | Supply ladder constructed of nonconductive material
4466131 |  | Option |  | Option | Setup ladder at a 4/1 angle
4466132 |  | Option |  | Option | Secure/tie off ladder to prevent movement
4466133 |  | Option |  | Option | Extend ladder 3ft beyond landing area or have “pass through” gate
4466134 |  | Option |  | Option | Install bridges with handrails across trenches wider than 30”
4466135 |  | Option |  | Option | N/A
363308 | 7 | Question | List Checkbox | Question | Safe access - Safeguards
4466292 |  | Option |  | Option | Install Barricade/Flagging/Fencing 6ft. from leading edge
4466293 |  | Option |  | Option | Ramps - Relentless Housekeeping - Maintain access/egress clear of obstructions
4466294 |  | Option |  | Option | Ladders - Relentless Housekeeping - Maintain access/egress clear of obstructions
4466295 |  | Option |  | Option | Use ladder per the manufacturer’s instructions
4466296 |  | Option |  | Option | N/A
363293 | 7 | Question | List Radio | Question | Reason for lack of Safe access controls?
363293 | 7 | Question |  | Question supporting text | <p><strong><span style="text-decoration:underline;">Energy(ies) Not Recognized</span></strong></p><p>Energy(ies) not recognized by employees involved in the task.</p><p>Example: STCKY Energy &ldquo;S#!T Built at Heights&rdquo; not recognized by the crew.</p><p><strong><span style="text-decoration:underline;"></span></strong></p><p><strong><span style="text-decoration:underline;">&nbsp;</span></strong></p><p><strong><span style="text-decoration:underline;">Hazard(s) Not Recognized</span></strong></p><p>Hazard(s) not recognized by employees involved in the task.</p><p>Example: Dropped object hazard(s) not recognized by the crew.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Identified</span></strong></p><p>Control(s) not identified for the recognized hazard(s)</p><p>Example: The crew did not identify the need for tethers, C.A.Z. (Controlled Access Zone), etc., to protect from recognized dropped object hazards.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Implemented</span></strong></p><p>Identified control(s) were not implemented.</p><p>Example: C.A.Z. identified as a control for dropped object hazard(s), but not established (implemented).</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Executed</span></strong></p><p>Implemented control(s) were not properly executed.</p><p>Example: C.A.Z. was established but not enforced (executed).</p>
4466146 |  | Option |  | Option | Safe access hazard(s) not recognized
4466147 |  | Option |  | Option | Safe access control(s) not identified
4466148 |  | Option |  | Option | Safe access control(s) not implemented
4466149 |  | Option |  | Option | Safe access control(s) not executed
363302 | 7 | Question | List Radio | Question | What prevented the hazard from being recognized? Select all that apply.
4466238 |  | Option |  | Option | Lack of Knowledge
4466238 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of Knowledge:</span></strong><span> The project team members did not have the necessary experience or expertise to identify all potential hazardous energies specific to the task.</span></p>
4466239 |  | Option |  | Option | Inadequate training
4466239 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate training:</span></strong><span> The team members had not received sufficient training on hazard recognition and/or energy sources, so they were not aware of potential risks.</span></p>
4466240 |  | Option |  | Option | Lack of awareness
4466240 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of awareness:</span></strong><span> The team was not aware of all the potential energy sources present in the new work area.</span></p>
4466241 |  | Option |  | Option | Insufficient risk assessment
4466241 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Insufficient risk assessment:</span></strong><span> The project team did not conduct a comprehensive risk assessment that included a thorough analysis of potential hazardous energies.</span></p>
4466242 |  | Option |  | Option | Rushed planning or inadequate preparation
4466242 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Rushed planning or inadequate preparation:</span></strong><span> Due to a rushed project planning phase or lack of attention to detail, the team overlooked hazardous energies during the "Plan the Work" phase.</span></p>
4466243 |  | Option |  | Option | Lack of communication
4466243 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of communication:</span></strong><span> There was poor communication between team members or departments, so information about hazardous energies was not effectively shared.</span></p>
4466244 |  | Option |  | Option | Inadequate hazard identification process
4466244 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate hazard identification process:</span></strong><span> The project team's hazard/energy recognition process was not detailed enough to identify all potential hazardous energies associated with the task.</span></p>
4466245 |  | Option |  | Option | Unclear responsibilities
4466245 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Unclear responsibilities:</span></strong><span> Unclear roles and responsibilities within the team led to hazards/energy not being recognized.</span></p>
4466246 |  | Option |  | Option | Assumptions and biases
4466246 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Assumptions and biases:</span></strong><span> Preconceived notions or assumptions about the task led the team to overlook hazardous energies.</span></p>
4466247 |  | Option |  | Option | External factors
4466247 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>External factors:</span></strong><span> Factors outside the control of the project team, such as changes in the work environment or unforeseen conditions, introduced hazardous energies that were not recognized.</span></p>
363303 | 7 | Question | List Radio | Question | What prevented a control from being identified? Select all that apply.
4466248 |  | Option |  | Option | Lack of familiarity with specific high energy hazards
4466248 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of familiarity with specific high energy hazards:</span></span></strong><span> The project team is not familiar with the specific high energy hazards present in the task, i.e. new or unique situation or work process.</span></p>
4466249 |  | Option |  | Option | Inadequate training on high energy controls
4466249 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training on high energy controls:</span></span></strong><span> Team members have not received sufficient training on identifying, implementing, and executing high energy controls.</span></p>
4466250 |  | Option |  | Option | Insufficient risk assessment
4466250 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Insufficient risk assessment:</span></span></strong><span> The team has not conducted a thorough risk assessment to identify all potential high energy hazards and determine appropriate controls.</span></p>
4466251 |  | Option |  | Option | Lack of available control options
4466251 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of available control options:</span></span></strong><span> The team struggles to find suitable control measures for mitigating the identified high energy hazards, leading to delays or inadequate solutions.</span></p>
4466252 |  | Option |  | Option | Resource constraints
4466252 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> Limited budget or access to equipment prevented the implementation of high energy controls</span></p>
4466253 |  | Option |  | Option | Time constraints
4466253 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project deadlines and tight schedules pressure the team to overlook or rush the identification of high energy controls.</span></p>
4466254 |  | Option |  | Option | Risk Tolerance
4466254 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The team has dealt with similar high energy hazards in the past without incident and assumed the risks are manageable without additional controls.</span></p>
4466255 |  | Option |  | Option | Emphasis on production
4466255 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Emphasis on production</span></span></strong><span>: A focus on productivity and meeting targets led to neglecting the thorough identification of high energy controls.</span></p>
4466256 |  | Option |  | Option | Lack of communication and collaboration
4466256 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of communication and collaboration:</span></span></strong><span> Team members did not communicate effectively, critical information about high energy hazards and controls were missed.</span></p>
4466257 |  | Option |  | Option | Failure to learn from past incidents
4466257 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to learn from past incidents:</span></span></strong><span> The team did not learn from previous incidents involving similar high energy hazards, leading to repeated oversights in control identification.</span></p>
4466258 |  | Option |  | Option | Complexity of the construction task
4466258 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Complexity of the construction task:</span></span></strong><span> Highly complex task with multiple high energy hazards, made it challenging for the team to identify and implement appropriate controls for each hazard.</span></p>
363304 | 7 | Question | List Radio | Question | What prevented the control from being implemented? Select all that apply.
4466264 |  | Option |  | Option | Cost considerations
4466264 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Cost considerations:</span></span></strong><span> High energy controls are expensive to acquire and install, and the project team prioritized cost savings over worker safety.</span></p>
4466265 |  | Option |  | Option | Lack of understanding or awareness
4466265 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of understanding or awareness:</span></span></strong><span> The team did not fully comprehend the severity of the hazard or the potential consequences of not implementing the high energy controls.</span></p>
4466266 |  | Option |  | Option | Resistance to change
4466266 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resistance to change:</span></span></strong><span> Introduction of controls or procedures was met with resistance from workers or management who prefer familiar practices.</span></p>
4466267 |  | Option |  | Option | Inadequate planning
4466267 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate planning:</span></span></strong><span> The team identified the need for high energy control but failed to develop a proper plan for their implementation.</span></p>
4466268 |  | Option |  | Option | Resource constraints
4466268 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources, such as equipment or skilled personnel, to implement the high energy controls effectively.</span></p>
4466269 |  | Option |  | Option | Time constraints
4466269 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project timelines or deadlines did not allow for implementing high energy controls properly.</span></p>
4466259 |  | Option |  | Option | Lack of leadership support
4466259 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of leadership support:</span></span></strong><span> The absence of leadership support in prioritizing control implementation made it challenging for the team to effectively implement the controls.</span></p>
4466260 |  | Option |  | Option | Perceived inconvenience
4466260 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Perceived inconvenience:</span></span></strong><span> Workers considered the high energy controls as inconvenient or cumbersome, leading to resistance in their implementation.</span></p>
4466261 |  | Option |  | Option | Risk Tolerance
4466261 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The project team believes that the hazard is manageable without additional controls or that accidents are unlikely to happen.</span></p>
4466262 |  | Option |  | Option | Inadequate training
4466262 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> Workers lack the necessary training on how to use or maintain the high energy controls effectively.</span></p>
4466263 |  | Option |  | Option | Miscommunication or misinterpretation
4466263 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misinterpretation:</span></span></strong><span> Instructions or guidelines for implementing the controls have not been communicated clearly or were misunderstood by the team.</span></p>
363305 | 7 | Question | List Radio | Question | What prevented the control from being executed? Select all that apply.
4466270 |  | Option |  | Option | Inadequate training
4466270 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> The team have not received sufficient training on how to use the high energy control properly</span></p>
4466271 |  | Option |  | Option | Lack of supervision
4466271 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of supervision</span></span></strong><span>: Lacking supervision, workers did not follow the correct procedures for using the high energy control.</span></p>
4466272 |  | Option |  | Option | Risk Tolerance
4466272 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> Workers became complacent over time and deviated from established procedures</span></p>
4466273 |  | Option |  | Option | Lack of accountability
4466273 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of accountability:</span></span></strong><span> No consequences for non-compliance with high energy control procedures</span></p>
4466274 |  | Option |  | Option | Failure to maintain equipment
4466274 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to maintain equipment:</span></span></strong><span> Lack of regular maintenance and/or inspections of the high energy control led to malfunction and/or reduced effectiveness.</span></p>
4466275 |  | Option |  | Option | Miscommunication or misunderstandings
4466275 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misunderstandings:</span></span></strong><span> Poor communication between team members resulted in misunderstandings about how to execute the high energy control. </span></p>
4466276 |  | Option |  | Option | Production pressures
4466276 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Production pressures:</span></span></strong><span> Workers prioritized production over control execution, due to tight project schedule or deadlines, leading to incomplete execution of the high energy control.</span></p>
4466277 |  | Option |  | Option | Resource constraints
4466277 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources to ensure high energy control execution.</span></p>
4466278 |  | Option |  | Option | Lack of awareness
4466278 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of awareness:</span></span></strong><span> Workers did understand the importance of high energy control or the potential consequences of not executing it effectively.</span></p>
4466279 |  | Option |  | Option | Worker fatigue
4466279 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Worker fatigue:</span></span></strong><span> Fatigued workers were not alert or attentive when executing high energy controls.</span></p>
4466280 |  | Option |  | Option | Competing priorities
4466280 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Competing priorities:</span></span></strong><span> Other tasks or issues diverted the team&rsquo;s attention away from executing the high energy control. </span></p>
4466281 |  | Option |  | Option | Willful disregard
4466281 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Willful Disregard:</span></span><span>&nbsp;</span></strong><span>Intentional neglect or avoidance of necessary actions or procedures<strong><span style="text-decoration:underline;"></span></strong></span></p>
363286 | 22 | Question | Choice | Question | Cave-in protection in place?
363286 | 22 | Question |  | Question supporting text | <p><strong><span style="text-decoration:underline;"><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Cave in protection in place?</span></span></strong></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Excavations 5&rsquo; deep or greater have protective system</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Excavations greater than 20&rsquo; designed by professional engineer</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Spoils, materials, and equipment set back at least 2&rsquo; excavation edge</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Loose rock or soil at excavation face sealed back</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Accumulation of water controlled</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">&nbsp;</span></p><p><strong><span style="text-decoration:underline;"><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Sloping / Benching &ndash;</span></span></strong></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Sloping/Benching appropriate for soil classification</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Type A Soil - &frac34;:1 If 12&rsquo; or less and open for less than 24 hrs.</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Type B Soil &ndash; 1:1</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Type C Soil - 1 &frac12;:1 (type C soil cannot be benched)</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">&nbsp;</span></p><p><strong><span style="text-decoration:underline;"><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Trench Box or Shield &ndash; </span></span></strong></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Tabulated Data on site </span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Box placed to prevent lateral movement</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Box extends 18&rdquo; above excavation</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Box no more than 24&rdquo; from bottom of excavation</span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">&nbsp;</span></p><p><strong><span style="text-decoration:underline;"><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Hydraulic Shoring &ndash; </span></span></strong></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Tabulated Data on site </span></p><p><span style="font-size:12.0pt;line-height:107%;font-family:'Times New Roman',serif;">Horizontal spacing per tabulated data</span></p>
4466106 |  | Option |  | Option | Yes
4466107 |  | Option |  | Option | No
4466108 |  | Option |  | Option | Not Applicable
363287 | 7 | Question | List Checkbox | Question | Cave in Protection - Direct Controls
4466109 |  | Option |  | Option | Install protective system for excavations 5’ deep or greater
4466110 |  | Option |  | Option | Set back spoils, materials, and equipment least 2’ excavation edge
4466111 |  | Option |  | Option | Seal back loose rock or soil at excavation face
4466112 |  | Option |  | Option | Prevent accumulation of water
4466113 |  | Option |  | Option | Ensure sloping/benching appropriate for soil classification
4466114 |  | Option |  | Option | Type A Soil - ¾:1 If 12’ or less and open for less than 24 hrs.
4466115 |  | Option |  | Option | Type B Soil – 1:1
4466116 |  | Option |  | Option | Type C Soil - 1 ½:1 (type C soil cannot be benched)
4466117 |  | Option |  | Option | Place box to prevent lateral movement
4466118 |  | Option |  | Option | Position box to extend 18” above excavation
4466119 |  | Option |  | Option | Position box so that it is no more than 24” from bottom of excavation
4466120 |  | Option |  | Option | Install horizontal spacing per tabulated data
4466121 |  | Option |  | Option | N/A
363309 | 7 | Question | List Checkbox | Question | Cave in Protection - Safeguards
4466297 |  | Option |  | Option | Secure design document for excavations greater than 20'
4466298 |  | Option |  | Option | Ensure tabulated data on site
4466299 |  | Option |  | Option | N/A
363281 | 7 | Question | List Radio | Question | Reason for lack of Cave in Protection controls?
363281 | 7 | Question |  | Question supporting text | <p><strong><span style="text-decoration:underline;">Energy(ies) Not Recognized</span></strong></p><p>Energy(ies) not recognized by employees involved in the task.</p><p>Example: STCKY Energy &ldquo;S#!T Built at Heights&rdquo; not recognized by the crew.</p><p><strong><span style="text-decoration:underline;"></span></strong></p><p><strong><span style="text-decoration:underline;">Hazard(s) Not Recognized</span></strong></p><p>Hazard(s) not recognized by employees involved in the task.</p><p>Example: Dropped object hazard(s) not recognized by the crew.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Identified</span></strong></p><p>Control(s) not identified for the recognized hazard(s)</p><p>Example: The crew did not identify the need for tethers, C.A.Z. (Controlled Access Zone), etc., to protect from recognized dropped object hazards.</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Implemented</span></strong></p><p>Identified control(s) were not implemented.</p><p>Example: C.A.Z. identified as a control for dropped object hazard(s), but not established (implemented).</p><p>&nbsp;</p><p><strong><span style="text-decoration:underline;">Control(s) Not Executed</span></strong></p><p>Implemented control(s) were not properly executed.</p><p>Example: C.A.Z. was established but not enforced (executed).</p>
4466058 |  | Option |  | Option | Cave in hazard(s) not recognized
4466059 |  | Option |  | Option | Cave in control(s) not identified
4466060 |  | Option |  | Option | Cave in control(s) not implemented
4466061 |  | Option |  | Option | Cave in control(s) not executed
363282 | 7 | Question | List Radio | Question | What prevented the hazard from being recognized? Select all that apply.
4466062 |  | Option |  | Option | Lack of Knowledge
4466062 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of Knowledge:</span></strong><span> The project team members did not have the necessary experience or expertise to identify all potential hazardous energies specific to the task.</span></p>
4466063 |  | Option |  | Option | Inadequate training
4466063 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate training:</span></strong><span> The team members had not received sufficient training on hazard recognition and/or energy sources, so they were not aware of potential risks.</span></p>
4466064 |  | Option |  | Option | Lack of awareness
4466064 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of awareness:</span></strong><span> The team was not aware of all the potential energy sources present in the new work area.</span></p>
4466065 |  | Option |  | Option | Insufficient risk assessment
4466065 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Insufficient risk assessment:</span></strong><span> The project team did not conduct a comprehensive risk assessment that included a thorough analysis of potential hazardous energies.</span></p>
4466066 |  | Option |  | Option | Rushed planning or inadequate preparation
4466066 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Rushed planning or inadequate preparation:</span></strong><span> Due to a rushed project planning phase or lack of attention to detail, the team overlooked hazardous energies during the "Plan the Work" phase.</span></p>
4466067 |  | Option |  | Option | Lack of communication
4466067 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Lack of communication:</span></strong><span> There was poor communication between team members or departments, so information about hazardous energies was not effectively shared.</span></p>
4466068 |  | Option |  | Option | Inadequate hazard identification process
4466068 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Inadequate hazard identification process:</span></strong><span> The project team's hazard/energy recognition process was not detailed enough to identify all potential hazardous energies associated with the task.</span></p>
4466069 |  | Option |  | Option | Unclear responsibilities
4466069 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Unclear responsibilities:</span></strong><span> Unclear roles and responsibilities within the team led to hazards/energy not being recognized.</span></p>
4466070 |  | Option |  | Option | Assumptions and biases
4466070 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>Assumptions and biases:</span></strong><span> Preconceived notions or assumptions about the task led the team to overlook hazardous energies.</span></p>
4466071 |  | Option |  | Option | External factors
4466071 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span>External factors:</span></strong><span> Factors outside the control of the project team, such as changes in the work environment or unforeseen conditions, introduced hazardous energies that were not recognized.</span></p>
363283 | 7 | Question | List Radio | Question | What prevented a control from being identified? Select all that apply.
4466072 |  | Option |  | Option | Lack of familiarity with specific high energy hazards
4466072 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of familiarity with specific high energy hazards:</span></span></strong><span> The project team is not familiar with the specific high energy hazards present in the task, i.e. new or unique situation or work process.</span></p>
4466073 |  | Option |  | Option | Inadequate training on high energy controls
4466073 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training on high energy controls:</span></span></strong><span> Team members have not received sufficient training on identifying, implementing, and executing high energy controls.</span></p>
4466074 |  | Option |  | Option | Insufficient risk assessment
4466074 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Insufficient risk assessment:</span></span></strong><span> The team has not conducted a thorough risk assessment to identify all potential high energy hazards and determine appropriate controls.</span></p>
4466075 |  | Option |  | Option | Lack of available control options
4466075 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of available control options:</span></span></strong><span> The team struggles to find suitable control measures for mitigating the identified high energy hazards, leading to delays or inadequate solutions.</span></p>
4466076 |  | Option |  | Option | Resource constraints
4466076 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> Limited budget or access to equipment prevented the implementation of high energy controls</span></p>
4466077 |  | Option |  | Option | Time constraints
4466077 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project deadlines and tight schedules pressure the team to overlook or rush the identification of high energy controls.</span></p>
4466078 |  | Option |  | Option | Risk Tolerance
4466078 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The team has dealt with similar high energy hazards in the past without incident and assumed the risks are manageable without additional controls.</span></p>
4466079 |  | Option |  | Option | Emphasis on production
4466079 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Emphasis on production</span></span></strong><span>: A focus on productivity and meeting targets led to neglecting the thorough identification of high energy controls.</span></p>
4466080 |  | Option |  | Option | Lack of communication and collaboration
4466080 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of communication and collaboration:</span></span></strong><span> Team members did not communicate effectively, critical information about high energy hazards and controls were missed.</span></p>
4466081 |  | Option |  | Option | Failure to learn from past incidents
4466081 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to learn from past incidents:</span></span></strong><span> The team did not learn from previous incidents involving similar high energy hazards, leading to repeated oversights in control identification.</span></p>
4466082 |  | Option |  | Option | Complexity of the construction task
4466082 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Complexity of the construction task:</span></span></strong><span> Highly complex task with multiple high energy hazards, made it challenging for the team to identify and implement appropriate controls for each hazard.</span></p>
363284 | 7 | Question | List Radio | Question | What prevented the control from being implemented? Select all that apply.
4466083 |  | Option |  | Option | Cost considerations
4466083 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Cost considerations:</span></span></strong><span> High energy controls are expensive to acquire and install, and the project team prioritized cost savings over worker safety.</span></p>
4466084 |  | Option |  | Option | Lack of understanding or awareness
4466084 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of understanding or awareness:</span></span></strong><span> The team did not fully comprehend the severity of the hazard or the potential consequences of not implementing the high energy controls.</span></p>
4466085 |  | Option |  | Option | Resistance to change
4466085 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resistance to change:</span></span></strong><span> Introduction of controls or procedures was met with resistance from workers or management who prefer familiar practices.</span></p>
4466086 |  | Option |  | Option | Inadequate planning
4466086 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate planning:</span></span></strong><span> The team identified the need for high energy control but failed to develop a proper plan for their implementation.</span></p>
4466087 |  | Option |  | Option | Resource constraints
4466087 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources, such as equipment or skilled personnel, to implement the high energy controls effectively.</span></p>
4466088 |  | Option |  | Option | Time constraints
4466088 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Time constraints:</span></span></strong><span> Project timelines or deadlines did not allow for implementing high energy controls properly.</span></p>
4466089 |  | Option |  | Option | Lack of leadership support
4466089 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of leadership support:</span></span></strong><span> The absence of leadership support in prioritizing control implementation made it challenging for the team to effectively implement the controls.</span></p>
4466090 |  | Option |  | Option | Perceived inconvenience
4466090 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Perceived inconvenience:</span></span></strong><span> Workers considered the high energy controls as inconvenient or cumbersome, leading to resistance in their implementation.</span></p>
4466091 |  | Option |  | Option | Risk Tolerance
4466091 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> The project team believes that the hazard is manageable without additional controls or that accidents are unlikely to happen.</span></p>
4466092 |  | Option |  | Option | Inadequate training
4466092 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> Workers lack the necessary training on how to use or maintain the high energy controls effectively.</span></p>
4466093 |  | Option |  | Option | Miscommunication or misinterpretation
4466093 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misinterpretation:</span></span></strong><span> Instructions or guidelines for implementing the controls have not been communicated clearly or were misunderstood by the team.</span></p>
363285 | 7 | Question | List Radio | Question | What prevented the control from being executed? Select all that apply.
4466094 |  | Option |  | Option | Inadequate training
4466094 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Inadequate training:</span></span></strong><span> The team have not received sufficient training on how to use the high energy control properly</span></p>
4466095 |  | Option |  | Option | Lack of supervision
4466095 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of supervision</span></span></strong><span>: Lacking supervision, workers did not follow the correct procedures for using the high energy control.</span></p>
4466096 |  | Option |  | Option | Risk Tolerance
4466096 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Risk Tolerance:</span></span></strong><span> Workers became complacent over time and deviated from established procedures</span></p>
4466097 |  | Option |  | Option | Lack of accountability
4466097 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of accountability:</span></span></strong><span> No consequences for non-compliance with high energy control procedures</span></p>
4466098 |  | Option |  | Option | Failure to maintain equipment
4466098 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Failure to maintain equipment:</span></span></strong><span> Lack of regular maintenance and/or inspections of the high energy control led to malfunction and/or reduced effectiveness.</span></p>
4466099 |  | Option |  | Option | Miscommunication or misunderstandings
4466099 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Miscommunication or misunderstandings:</span></span></strong><span> Poor communication between team members resulted in misunderstandings about how to execute the high energy control. </span></p>
4466100 |  | Option |  | Option | Production pressures
4466100 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Production pressures:</span></span></strong><span> Workers prioritized production over control execution, due to tight project schedule or deadlines, leading to incomplete execution of the high energy control.</span></p>
4466101 |  | Option |  | Option | Resource constraints
4466101 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Resource constraints:</span></span></strong><span> The team lacked the necessary resources to ensure high energy control execution.</span></p>
4466102 |  | Option |  | Option | Lack of awareness
4466102 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Lack of awareness:</span></span></strong><span> Workers did understand the importance of high energy control or the potential consequences of not executing it effectively.</span></p>
4466103 |  | Option |  | Option | Worker fatigue
4466103 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Worker fatigue:</span></span></strong><span> Fatigued workers were not alert or attentive when executing high energy controls.</span></p>
4466104 |  | Option |  | Option | Competing priorities
4466104 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Competing priorities:</span></span></strong><span> Other tasks or issues diverted the team&rsquo;s attention away from executing the high energy control. </span></p>
4466105 |  | Option |  | Option | Willful disregard
4466105 |  | Option |  | Option supporting text | <p style="margin-left:.25in;"><strong><span style="text-decoration:underline;"><span>Willful Disregard:</span></span><span>&nbsp;</span></strong><span>Intentional neglect or avoidance of necessary actions or procedures<strong><span style="text-decoration:underline;"></span></strong></span></p>
35075 |  | Section |  | Section | Complete Assessment
363315 | 10 | Question | Text Short | Question | Location ¦ Notes ¦ Comments
363313 | 67 | Question | People | Question | Frontline supervisor(s) responsible for operation
363313 | 67 | Question |  | Question supporting text | <div class="k-tooltip-content" style="box-sizing:content-box;height:14px;width:calc(100% + 10px);word-break:break-word;overflow-wrap:break-word;max-width:490px;color:#333333;font-family:'Roboto Regular', 'Segoe UI', Verdana, Helvetica, sans-serif;overflow-y:auto !important;max-height:215px !important;padding-right:0px !important;">Superintendent and/or Foreman</div><div>&nbsp;</div>
363317 | 10 | Question | Text Long | Question | STCKY Success - Description of Recognition
363310 | 10 | Question | Text Long | Question | STCKY Luck - Description of Coaching
363311 | 67 | Question | People | Question | Individuals receiving recognition (Select all that apply)
363312 | 67 | Question | People | Question | Individuals receiving coaching (Select all that apply)
363316 | 13 | Question | People | Question | Send notification to Sundt Supervisor(s) ¦ Trade Partner Supervisor(s) ¦ HS&E Manager
363314 | 11 | Question | Button | Question | Submit
3553 |  | Template Name |  | Template Name | S#!t That's Built Underground
3553 |  | Template Description |  | Template Description | Assessment of controls for excavation and trenches